## overview
metric | FOAK (~1.6 MW) | NOAK (~52 MW)
Net electricity (MW) | 1.59 | 51.82
Number of wells | 2 | 8
Fixed charge rate (%) | 5.8 | 5.8
Utilization factor | 0.85 | 0.85
Total CAPEX (MUSD) | 29.99 | 250.86
CAPEX ($/kW-net) | 18862 | 4841
Annual O&M (MUSD/yr) | 0.53 | 5.62
Breakeven LCOE ($/MWh, GEOPHIRES) | 191.6 | 52.3
LCOE check = (FCR·CAPEX+O&M)/MWh ($/MWh) | 191.69 | 52.27

## capital_costs
line_item | unit | FOAK_MUSD | FOAK_pct_of_total | FOAK_LCOE_$/MWh | NOAK_MUSD | NOAK_pct_of_total | NOAK_LCOE_$/MWh
Exploration costs | MUSD | 6.73 | 22.4 | 32.97 | 7.14 | 2.8 | 1.07
Drilling and completion costs | MUSD | 14.78 | 49.3 | 72.41 | 63.57 | 25.3 | 9.56
Stimulation costs | MUSD | 1.51 | 5 | 7.4 | 6.04 | 2.4 | 0.91
Surface power plant costs | MUSD | 5.92 | 19.7 | 29 | 169.29 | 67.5 | 25.45
Field gathering system costs | MUSD | 1.06 | 3.5 | 5.19 | 4.82 | 1.9 | 0.72
Total capital costs | MUSD | 29.99 | 100 | 146.92 | 250.86 | 100 | 37.71

## om_costs
line_item | unit | FOAK_MUSD | FOAK_pct_of_total | FOAK_LCOE_$/MWh | NOAK_MUSD | NOAK_pct_of_total | NOAK_LCOE_$/MWh
Wellfield maintenance costs | MUSD/yr | 0.22 | 41.5 | 18.58 | 1.24 | 22.1 | 3.21
Power plant maintenance costs | MUSD/yr | 0.28 | 52.8 | 23.65 | 4.22 | 75.1 | 10.94
Water costs | MUSD/yr | 0.02 | 3.8 | 1.69 | 0.16 | 2.8 | 0.41
Total operating and maintenance costs | MUSD/yr | 0.53 | 100 | 44.77 | 5.62 | 100 | 14.57