## summary
statistic | LCOE_USD_per_MWh
runs | 400
mean | 52.88
std | 8.38
min | 35.5
P10 | 42.9
P25 | 46.3
P50 (median) | 52.4
P75 | 58.6
P90 | 64.91
max | 84.7
% of runs <= $45 (moonshot) | 18.8
% of runs <= $52 (central) | 48.2

## monte_carlo_runs
run | gradient_C_per_km | flow_kg_per_s | plant_cost_USD_per_kW | drilling_factor | fixed_charge_rate | productivity_index_kg_s_bar | num_fractures | fracture_height_m | doublets | LCOE_USD_per_MWh
1 | 60.879 | 79.0929 | 2220.8608 | 1.2212 | 0.049773 | 9.4316 | 65 | 1083.2619 | 4 | 43.7
2 | 57.6384 | 74.3131 | 2719.989 | 1.2667 | 0.052063 | 9.0693 | 69 | 1099.4055 | 5 | 54.3
3 | 56.4388 | 82.3106 | 2329.7836 | 0.99907 | 0.052344 | 9.8295 | 87 | 1027.5665 | 6 | 45.4
4 | 58.628 | 84.3412 | 2188.7818 | 1.0403 | 0.052971 | 9.9704 | 34 | 960.9838 | 4 | 44.5
5 | 52.6081 | 76.4108 | 2113.63 | 1.2329 | 0.079097 | 11.2215 | 64 | 938.637 | 4 | 72.1
6 | 62.1716 | 90.0982 | 2592.3858 | 1.2185 | 0.050206 | 9.5055 | 50 | 866.0205 | 4 | 45.6
7 | 61.3855 | 79.7146 | 2534.5624 | 1.1115 | 0.083752 | 9.8722 | 54 | 920.034 | 4 | 67.4
8 | 59.4307 | 71.2805 | 2153.8417 | 1.0456 | 0.065824 | 12.3993 | 63 | 890.4805 | 5 | 52.4
9 | 64.1749 | 87.5114 | 2215.3142 | 1.4178 | 0.064505 | 11.3055 | 67 | 981.864 | 5 | 48.8
10 | 62.9148 | 72.9385 | 2568.7349 | 1.2802 | 0.053877 | 9.9519 | 61 | 957.0359 | 5 | 49.6
11 | 60.5551 | 74.9292 | 2303.3509 | 1.319 | 0.076432 | 9.6532 | 69 | 894.1168 | 4 | 63.9
12 | 56.6979 | 78.2159 | 2340.3507 | 1.0862 | 0.059917 | 9.0716 | 64 | 1009.0358 | 5 | 52.8
13 | 65.6304 | 74.5201 | 2260.8489 | 1.1734 | 0.056624 | 9.972 | 60 | 860.2888 | 3 | 46.8
14 | 61.5963 | 82.0574 | 2137.7167 | 1.0583 | 0.060352 | 8.6026 | 63 | 997.496 | 4 | 46.2
15 | 61.4444 | 83.212 | 2391.743 | 1.2042 | 0.062506 | 10.5998 | 77 | 1105.4626 | 5 | 51.1
16 | 60.2459 | 81.8509 | 2300.5011 | 1.1764 | 0.074606 | 10.9766 | 66 | 989.6574 | 4 | 59.2
17 | 62.965 | 74.4635 | 2686.3605 | 1.0475 | 0.064066 | 9.8067 | 70 | 1086.2431 | 4 | 56.3
18 | 57.2655 | 75.8832 | 2290.5008 | 1.3515 | 0.058397 | 11.1397 | 47 | 908.5183 | 5 | 54.6
19 | 64.5143 | 80.3271 | 2405.8937 | 1.2257 | 0.054229 | 12.5095 | 73 | 1019.4857 | 4 | 45.7
20 | 57.2299 | 81.707 | 2334.2679 | 1.108 | 0.077004 | 8.7899 | 61 | 1036.6048 | 4 | 63.6
21 | 57.3504 | 76.015 | 2504.5023 | 1.4027 | 0.071206 | 10.1389 | 56 | 1005.3246 | 3 | 70.2
22 | 62.2608 | 78.1494 | 2175.1137 | 1.4438 | 0.069428 | 10.7268 | 85 | 825.2949 | 4 | 56.1
23 | 60.6961 | 83.9721 | 2193.8744 | 1.2976 | 0.042457 | 9.7285 | 82 | 1016.9599 | 3 | 40.3
24 | 61.695 | 80.6174 | 2382.3918 | 1.218 | 0.065071 | 13.001 | 66 | 777.3746 | 5 | 53.4
25 | 67.0261 | 75.4149 | 2320.2998 | 1.3162 | 0.044803 | 8.7434 | 39 | 1021.8973 | 4 | 39.2
26 | 66.5623 | 81.0393 | 2243.7208 | 1.2223 | 0.048089 | 11.5002 | 61 | 1156.3495 | 5 | 38.2
27 | 57.7041 | 72.5778 | 2423.774 | 1.1148 | 0.047975 | 11.8444 | 64 | 1045.5905 | 4 | 47.8
28 | 62.2867 | 70.6978 | 2417.0915 | 1.1762 | 0.046723 | 8.8627 | 59 | 873.3299 | 5 | 43.3
29 | 62.9692 | 77.1182 | 2414.3273 | 1.3756 | 0.074218 | 9.7267 | 42 | 938.4629 | 3 | 63.4
30 | 53.4872 | 69.7696 | 2217.6795 | 1.2183 | 0.050251 | 10.5819 | 82 | 782.6292 | 5 | 52.6
31 | 62.7772 | 91.5234 | 2699.8077 | 1.0826 | 0.065017 | 7.6822 | 87 | 783.8058 | 5 | 54.1
32 | 57.4329 | 80.1653 | 2241.6523 | 1.374 | 0.064606 | 12.8373 | 54 | 890.2391 | 4 | 57.8
33 | 54.4186 | 83.7964 | 2597.2629 | 1.2788 | 0.065097 | 9.6813 | 57 | 1007.0276 | 5 | 63.5
34 | 63.7512 | 73.0111 | 2676.2252 | 1.0882 | 0.069638 | 11.7973 | 62 | 748.865 | 4 | 59.9
35 | 57.6351 | 82.8534 | 2434.3428 | 1.2236 | 0.075974 | 10.8086 | 73 | 834.6798 | 4 | 65.3
36 | 58.1613 | 87.8183 | 2092.1498 | 1.0821 | 0.080005 | 10.4941 | 63 | 1100.3602 | 5 | 57.2
37 | 62.1538 | 74.1721 | 2552.4272 | 1.4218 | 0.058997 | 12.4763 | 69 | 925.3762 | 3 | 57.2
38 | 58.9698 | 78.3087 | 2256.0666 | 1.2251 | 0.072665 | 10.7623 | 61 | 792.0865 | 4 | 60.1
39 | 57.7152 | 72.9304 | 2319.591 | 0.98183 | 0.047837 | 11.8011 | 58 | 1023.0057 | 4 | 45.1
40 | 64.5224 | 76.2593 | 2358.9651 | 1.1747 | 0.062712 | 10.362 | 42 | 1152.8854 | 4 | 50.6
41 | 58.8292 | 84.8379 | 2569.7912 | 1.1573 | 0.060601 | 8.9133 | 53 | 966.5402 | 4 | 54.7
42 | 59.4803 | 86.07 | 2435.9155 | 1.3639 | 0.070988 | 9.2976 | 57 | 896.3985 | 4 | 61
43 | 57.4223 | 71.2662 | 2374.0523 | 1.2834 | 0.052846 | 9.547 | 72 | 829.7148 | 4 | 53.2
44 | 62.0428 | 71.1767 | 2352.3618 | 1.374 | 0.069708 | 10.4855 | 60 | 1049.2748 | 4 | 60.5
45 | 62.3533 | 82.7886 | 2363.1751 | 1.2192 | 0.044378 | 7.4054 | 89 | 1047.136 | 4 | 40.4
46 | 62.7318 | 78.3197 | 2242.8886 | 1.3877 | 0.052707 | 11.6382 | 85 | 940.5198 | 4 | 45.8
47 | 60.765 | 84.2893 | 2682.4887 | 1.1706 | 0.065714 | 9.9044 | 87 | 1011.5544 | 5 | 57.2
48 | 59.9343 | 69.7892 | 2362.5408 | 1.15 | 0.050528 | 7.3845 | 87 | 946.7636 | 6 | 46.2
49 | 56.5461 | 76.6358 | 2511.6853 | 1.1564 | 0.089451 | 10.8781 | 84 | 998.2804 | 4 | 78.2
50 | 65.7983 | 84.1658 | 2254.8456 | 1.04 | 0.078991 | 12.948 | 42 | 1109.4321 | 4 | 54.5
51 | 53.4176 | 74.2655 | 2561.5803 | 1.0524 | 0.050027 | 10.7817 | 48 | 864.4286 | 4 | 54
52 | 66.5742 | 83.4401 | 2246.642 | 1.2101 | 0.050278 | 9.7514 | 41 | 873.7178 | 4 | 40.1
53 | 65.6358 | 83.789 | 2161.3871 | 1.3648 | 0.054787 | 9.6287 | 58 | 1152.8692 | 4 | 42.8
54 | 58.9523 | 77.8974 | 2104.3128 | 1.1719 | 0.047885 | 8.3513 | 59 | 1032.0913 | 4 | 42.6
55 | 63.2916 | 75.1587 | 2324.826 | 1.2161 | 0.070165 | 9.8749 | 71 | 946.2859 | 4 | 56.3
56 | 55.5839 | 78.5749 | 2158.2742 | 1.0971 | 0.063561 | 10.9893 | 92 | 1040.2498 | 4 | 55
57 | 55.7933 | 75.6753 | 2369.1486 | 1.1724 | 0.060145 | 10.3575 | 69 | 1065.6294 | 3 | 59.3
58 | 60.4943 | 88.6213 | 2468.1154 | 1.1118 | 0.058718 | 8.6328 | 69 | 898.3016 | 4 | 49.7
59 | 58.4849 | 81.5006 | 2341.3796 | 1.2278 | 0.081739 | 11.5075 | 60 | 1067.3667 | 5 | 65.7
60 | 62.1727 | 82.1374 | 2513.5446 | 1.0105 | 0.051674 | 11.6256 | 57 | 986.6148 | 4 | 45
61 | 54.8391 | 75.2576 | 2320.6826 | 1.1564 | 0.071994 | 8.5358 | 38 | 1028.2047 | 4 | 66
62 | 58.6189 | 77.3319 | 2145.9675 | 1.0534 | 0.054882 | 10.1632 | 45 | 1016.1022 | 4 | 46.4
63 | 64.0296 | 82.7934 | 2209.933 | 1.1314 | 0.056775 | 9.4987 | 59 | 863.3393 | 4 | 44
64 | 62.2093 | 81.0959 | 2503.6196 | 1.2263 | 0.078969 | 9.8519 | 69 | 1043.0212 | 4 | 64.1
65 | 63.6099 | 68.0717 | 2469.9298 | 1.2005 | 0.072385 | 10.9427 | 49 | 940.8218 | 4 | 61.4
66 | 54.7177 | 73.8891 | 2560.4119 | 0.99801 | 0.060201 | 11.1466 | 73 | 1106.7579 | 3 | 61.2
67 | 60.5648 | 82.8756 | 2307.1901 | 1.004 | 0.069331 | 9.5816 | 59 | 858.4934 | 4 | 53.7
68 | 65.5265 | 81.8552 | 2160.5147 | 1.2324 | 0.042499 | 10.7048 | 73 | 839.5208 | 4 | 35.5
69 | 60.8994 | 81.6234 | 2202.7019 | 1.1002 | 0.049246 | 9.7457 | 69 | 906.3739 | 4 | 41.6
70 | 61.0514 | 79.9534 | 2027.308 | 1.1578 | 0.05304 | 12.4897 | 70 | 1009.0281 | 3 | 43.9
71 | 52.1966 | 85.0949 | 2308.7107 | 1.047 | 0.060535 | 9.0184 | 46 | 921.722 | 5 | 56.6
72 | 55.7941 | 76.2059 | 2109.7506 | 1.1858 | 0.063738 | 11.2128 | 59 | 964.0644 | 4 | 56.2
73 | 60.9902 | 77.1386 | 2337.4402 | 1.2535 | 0.071615 | 11.8764 | 67 | 1085.8958 | 4 | 59.3
74 | 66.5878 | 83.3522 | 2305.4931 | 1.1764 | 0.058679 | 9.1068 | 47 | 1032.1754 | 5 | 44.3
75 | 59.564 | 75.646 | 2088.2754 | 1.3422 | 0.054507 | 10.0709 | 65 | 1121.2858 | 4 | 48
76 | 65.7807 | 81.4894 | 2246.5665 | 1.0585 | 0.051075 | 7.7395 | 53 | 1100.7365 | 5 | 39.2
77 | 56.72 | 86.7985 | 2464.9388 | 1.1906 | 0.049617 | 11.1107 | 77 | 968.4241 | 4 | 47.9
78 | 59.2293 | 81.8008 | 2282.0247 | 1.2018 | 0.044665 | 12.056 | 65 | 1038.7574 | 5 | 40.6
79 | 63.343 | 80.5823 | 2302.5235 | 1.2105 | 0.048566 | 11.6526 | 70 | 1076.5489 | 4 | 41.7
80 | 62.9905 | 77.2282 | 2607.8869 | 1.0805 | 0.05279 | 8.9905 | 89 | 962.1562 | 5 | 46.8
81 | 55.0049 | 84.3588 | 2109.6386 | 1.1725 | 0.080975 | 8.6157 | 95 | 984.6574 | 4 | 65.5
82 | 58.5842 | 85.5621 | 2722.5972 | 1.2984 | 0.061105 | 9.7843 | 87 | 940.3731 | 4 | 58.6
83 | 59.9136 | 84.6509 | 2289.3739 | 1.1428 | 0.065372 | 7.6738 | 86 | 1105.0735 | 5 | 51.9
84 | 58.3184 | 89.2228 | 2316.6723 | 1.2318 | 0.047959 | 11.8156 | 61 | 999.6213 | 4 | 43.7
85 | 66.4786 | 74.7449 | 2160.1815 | 1.1841 | 0.048082 | 13.1293 | 68 | 941.7512 | 5 | 37.9
86 | 59.9324 | 86.4071 | 2411.8582 | 1.4026 | 0.079763 | 10.4968 | 90 | 883.0107 | 5 | 65
87 | 63.3502 | 81.2329 | 2276.0466 | 1.1739 | 0.070627 | 10.3756 | 88 | 1060.4765 | 4 | 53.9
88 | 57.7228 | 84.5233 | 2211.6335 | 1.0838 | 0.050599 | 9.1788 | 62 | 1032.1389 | 4 | 44.2
89 | 58.2829 | 78.3224 | 2288.8787 | 1.1832 | 0.059922 | 8.3676 | 76 | 743.5178 | 5 | 52
90 | 53.2601 | 70.1919 | 2285.4581 | 1.2341 | 0.069012 | 10.3796 | 61 | 876.0035 | 3 | 71.6
91 | 58.943 | 85.0153 | 2219.1203 | 1.2802 | 0.06785 | 10.1591 | 84 | 920.7053 | 4 | 55.6
92 | 59.4323 | 81.5726 | 2214.4612 | 1.1387 | 0.057391 | 8.0477 | 46 | 954.099 | 4 | 48.1
93 | 58.3586 | 77.6895 | 2310.0997 | 1.3904 | 0.071521 | 11.017 | 41 | 935.5508 | 4 | 63.3
94 | 63.778 | 84.9448 | 2240.7651 | 1.3715 | 0.071079 | 11.4094 | 89 | 971.8965 | 4 | 54.3
95 | 58.5776 | 70.6568 | 2340.1088 | 1.3952 | 0.065165 | 10.4692 | 88 | 809.8358 | 4 | 61.7
96 | 53.294 | 83.2426 | 2126.6948 | 1.2926 | 0.082976 | 11.6784 | 67 | 954.9317 | 5 | 70.6
97 | 63.4601 | 90.031 | 2291.1303 | 1.1951 | 0.059264 | 9.0721 | 69 | 871.0481 | 4 | 46.1
98 | 60.138 | 80.3214 | 2538.2836 | 1.3818 | 0.073781 | 11.8517 | 72 | 1011.3236 | 4 | 65.4
99 | 61.7128 | 85.324 | 2313.5464 | 1.1129 | 0.073298 | 11.2931 | 45 | 1053.9478 | 4 | 55.7
100 | 60.7063 | 75.0225 | 2472.681 | 1.2208 | 0.078492 | 11.7244 | 45 | 786.482 | 4 | 66.6
101 | 58.7617 | 83.1262 | 2305.8308 | 1.1653 | 0.060164 | 8.9828 | 79 | 945.7743 | 4 | 51.4
102 | 58.6733 | 77.5415 | 2735.9772 | 1.1473 | 0.044004 | 7.2436 | 47 | 852.1844 | 5 | 46.7
103 | 62.4272 | 77.0049 | 2072.3956 | 1.0515 | 0.06152 | 7.7064 | 47 | 878.1209 | 4 | 46.3
104 | 64.94 | 75.4764 | 2312.0927 | 1.2446 | 0.048197 | 9.5169 | 59 | 928.2615 | 5 | 40.9
105 | 59.734 | 85.5775 | 2440.2452 | 1.2022 | 0.055688 | 8.7509 | 53 | 751.9072 | 4 | 50
106 | 61.1786 | 78.4969 | 2290.2682 | 1.2507 | 0.045383 | 9.0742 | 40 | 920.2913 | 4 | 41.9
107 | 65.8046 | 89.6016 | 2023.0196 | 1.3369 | 0.080512 | 9.6028 | 63 | 896.1797 | 5 | 52.8
108 | 62.8299 | 78.9149 | 2274.1146 | 1.186 | 0.07195 | 10.1833 | 72 | 1023.8362 | 5 | 54.6
109 | 61.4787 | 84.2227 | 2547.2265 | 1.2719 | 0.063142 | 7.9022 | 40 | 952.8448 | 6 | 58.6
110 | 60.2577 | 81.5977 | 2410.779 | 1.1055 | 0.081144 | 9.7962 | 51 | 798.0413 | 5 | 65.2
111 | 63.6608 | 78.9946 | 2167.6261 | 1.3666 | 0.051008 | 10.5966 | 63 | 909.6334 | 4 | 42.9
112 | 54.0386 | 70.8492 | 2056.6219 | 1.3114 | 0.047433 | 13.4925 | 49 | 928.097 | 5 | 48.8
113 | 58.9411 | 76.6161 | 2071.4323 | 1.151 | 0.054669 | 9.4964 | 63 | 800.8711 | 5 | 45.4
114 | 63.7548 | 68.0241 | 2484.9513 | 1.3014 | 0.064125 | 7.8001 | 47 | 962.1746 | 4 | 57.4
115 | 56.7574 | 89.7288 | 2579.9335 | 1.1395 | 0.060973 | 8.052 | 75 | 872.4386 | 4 | 55.9
116 | 59.1986 | 80.0129 | 2604.9811 | 1.1623 | 0.061486 | 8.236 | 92 | 820.3984 | 5 | 55.5
117 | 65.7132 | 71.7021 | 2232.5933 | 1.018 | 0.042988 | 13.2444 | 67 | 1042.7414 | 4 | 36.6
118 | 60.9298 | 74.7947 | 2226.4323 | 1.388 | 0.051106 | 10.3666 | 58 | 1044.311 | 5 | 45.8
119 | 62.539 | 78.0627 | 2099.4579 | 1.0603 | 0.064596 | 8.8394 | 76 | 794.8541 | 5 | 47.1
120 | 66.5294 | 74.1862 | 2403.4493 | 1.2308 | 0.062159 | 9.8581 | 53 | 1007.2165 | 4 | 50.5
121 | 60.8555 | 74.7418 | 2756.4368 | 1.1491 | 0.06054 | 10.2119 | 74 | 828.2357 | 4 | 57.6
122 | 61.7182 | 86.1193 | 2416.4605 | 1.3594 | 0.058648 | 9.5821 | 83 | 943.2972 | 4 | 50.7
123 | 62.2884 | 75.9618 | 2395.9898 | 1.3971 | 0.066392 | 12.2737 | 85 | 812.2308 | 6 | 55.9
124 | 62.0475 | 81.687 | 2294.8519 | 1.24 | 0.078277 | 9.3992 | 73 | 808.4431 | 5 | 59.6
125 | 58.858 | 85.7269 | 2251.3744 | 1.2737 | 0.084268 | 10.0776 | 72 | 911.6381 | 5 | 64.9
126 | 57.0819 | 78.381 | 2348.0312 | 1.1956 | 0.050921 | 9.4681 | 72 | 1018.1849 | 4 | 49
127 | 60.8388 | 75.5141 | 2275.5874 | 1.3674 | 0.066684 | 10.4434 | 56 | 895.1613 | 5 | 56.2
128 | 60.0505 | 81.927 | 2372.1022 | 1.1672 | 0.068742 | 10.1913 | 82 | 1010.2837 | 6 | 54.9
129 | 58.1479 | 75.517 | 2101.5127 | 1.2879 | 0.071384 | 10.855 | 65 | 954.1137 | 3 | 61.6
130 | 64.3654 | 83.238 | 2600.7849 | 1.1307 | 0.04476 | 12.2944 | 88 | 907.075 | 5 | 40.3
131 | 60.7059 | 74.8434 | 2204.5616 | 1.306 | 0.051769 | 9.8833 | 75 | 925.3488 | 4 | 46.5
132 | 58.3549 | 86.7828 | 2591.1097 | 1.3238 | 0.047191 | 7.8832 | 59 | 800.0036 | 6 | 50.6
133 | 62.0927 | 80.5499 | 2306.6118 | 1.1688 | 0.050846 | 11.5244 | 63 | 1053.5301 | 4 | 43.6
134 | 55.9008 | 78.8514 | 2104.6916 | 1.1984 | 0.065813 | 10.7897 | 76 | 968.9902 | 5 | 55.4
135 | 60.5855 | 87.4983 | 2618.867 | 1.2399 | 0.061714 | 9.1781 | 57 | 996.1557 | 5 | 54
136 | 63.1001 | 77.9388 | 2722.9391 | 1.0505 | 0.064228 | 11.9934 | 77 | 884.6014 | 5 | 55.1
137 | 59.5175 | 73.6542 | 2391.8912 | 1.3131 | 0.048634 | 11.5479 | 45 | 970.118 | 4 | 48
138 | 66.3514 | 72.1856 | 2359.1852 | 1.049 | 0.072207 | 8.4161 | 49 | 1023.2272 | 3 | 56.2
139 | 63.0352 | 85.5738 | 2305.7271 | 1.2373 | 0.060354 | 11.9235 | 39 | 857.6242 | 4 | 48.9
140 | 53.4072 | 78.2462 | 2083.5818 | 1.3529 | 0.057943 | 9.2968 | 62 | 956.7024 | 3 | 59.1
141 | 60.3225 | 77.5663 | 2279.9475 | 1.256 | 0.052197 | 8.8146 | 86 | 1107.4269 | 4 | 46.9
142 | 65.7983 | 82.3343 | 2275.2891 | 1.3122 | 0.052948 | 10.1276 | 58 | 864.2668 | 4 | 42.9
143 | 58.437 | 76.6365 | 2612.5571 | 1.2569 | 0.05003 | 11.9945 | 70 | 918.6911 | 4 | 51.1
144 | 66.4502 | 79.3105 | 2304.579 | 1.1022 | 0.069718 | 8.9917 | 55 | 1024.4637 | 4 | 51.4
145 | 57.6319 | 86.9712 | 2271.2412 | 1.4248 | 0.058325 | 9.769 | 57 | 773.194 | 4 | 53
146 | 65.62 | 74.7208 | 2596.1697 | 1.15 | 0.056182 | 12.4806 | 42 | 849.6127 | 5 | 49.3
147 | 60.5218 | 76.1779 | 2205.5374 | 1.1972 | 0.054434 | 11.6797 | 52 | 838.4614 | 5 | 46.2
148 | 52.6469 | 83.1343 | 2464.532 | 1.0376 | 0.048982 | 10.5304 | 58 | 943.7415 | 3 | 52.5
149 | 54.7308 | 72.9252 | 2250.7235 | 1.2265 | 0.047738 | 9.8317 | 38 | 1028.1404 | 4 | 50.1
150 | 56.56 | 74.1833 | 2319.8124 | 1.4185 | 0.046414 | 9.0349 | 55 | 833.0503 | 4 | 49.6
151 | 57.7322 | 79.4188 | 2431.6478 | 1.2978 | 0.066467 | 9.6738 | 91 | 1028.7412 | 4 | 60.8
152 | 56.2438 | 82.4421 | 2565.8127 | 1.1814 | 0.047575 | 10.3939 | 78 | 828.0884 | 4 | 48.9
153 | 61.9218 | 71.562 | 2545.0565 | 1.2064 | 0.066185 | 10.2832 | 83 | 854.4616 | 6 | 57.1
154 | 60.152 | 77.6774 | 2383.1842 | 1.3935 | 0.048543 | 10.6235 | 71 | 1009.5447 | 4 | 47.1
155 | 58.2693 | 76.9535 | 2395.8857 | 1.111 | 0.083805 | 10.0838 | 74 | 1128.4891 | 4 | 69.2
156 | 57.7178 | 74.9623 | 2431.051 | 1.4226 | 0.044769 | 13.3274 | 91 | 929.0589 | 5 | 46.9
157 | 61.4169 | 79.5772 | 2373.182 | 1.0982 | 0.053675 | 10.5877 | 48 | 943.6115 | 4 | 46.2
158 | 58.6205 | 69.6294 | 2402.9527 | 1.1697 | 0.045865 | 8.7836 | 61 | 1054.5657 | 4 | 46.8
159 | 54.4423 | 66.3864 | 2591.6645 | 1.1028 | 0.068282 | 10.5251 | 50 | 981.2196 | 5 | 69
160 | 62.1623 | 84.7099 | 2585.6927 | 1.3924 | 0.048072 | 9.3368 | 61 | 1080.3124 | 5 | 45.1
161 | 58.5288 | 84.5267 | 2592.5086 | 1.2104 | 0.046397 | 10.951 | 57 | 1095.2803 | 6 | 44.9
162 | 54.343 | 87.7636 | 2575.8425 | 1.0541 | 0.055623 | 9.2763 | 59 | 840.1233 | 4 | 54
163 | 61.5659 | 75.7372 | 2290.3253 | 1.1222 | 0.051611 | 9.8096 | 54 | 946.1649 | 5 | 43.9
164 | 59.7511 | 86.5382 | 2238.733 | 1.4 | 0.050411 | 9.4559 | 77 | 1075.2224 | 4 | 45.2
165 | 56.2784 | 74.764 | 2225.5467 | 1.1791 | 0.041252 | 9.8098 | 49 | 957.216 | 5 | 41.6
166 | 61.504 | 80.5943 | 2589.0688 | 1.0284 | 0.06265 | 10.2163 | 61 | 1050.46 | 5 | 52.6
167 | 58.1895 | 80.7262 | 2152.5912 | 1.2162 | 0.076022 | 13.1984 | 43 | 971.5168 | 4 | 60.6
168 | 63.4643 | 79.6942 | 2322.7746 | 1.0928 | 0.045568 | 11.9915 | 76 | 940.1759 | 5 | 38.5
169 | 58.4925 | 84.2806 | 2188.2504 | 1.2621 | 0.053717 | 9.4067 | 64 | 913.8073 | 5 | 45.9
170 | 59.8262 | 72.0208 | 2365.5618 | 1.1981 | 0.065323 | 8.2429 | 73 | 922.5022 | 3 | 59.7
171 | 61.4157 | 70.7794 | 2517.2733 | 1.3343 | 0.0559 | 8.8861 | 84 | 1016.9926 | 4 | 53.8
172 | 63.0647 | 77.4264 | 2750.9502 | 1.1598 | 0.048109 | 11.3624 | 63 | 784.0767 | 4 | 46.8
173 | 64.6945 | 78.916 | 2344.8447 | 1.1604 | 0.054179 | 11.0847 | 67 | 948.4487 | 4 | 44.6
174 | 61.6382 | 83.0431 | 2240.3303 | 1.108 | 0.046478 | 10.5347 | 75 | 886.4205 | 3 | 41.2
175 | 55.266 | 87.2926 | 2281.8228 | 1.1584 | 0.078756 | 13.3508 | 59 | 790.7498 | 3 | 67.2
176 | 58.4856 | 77.0277 | 2075.0478 | 1.2141 | 0.055646 | 9.1837 | 57 | 852.7965 | 4 | 47.9
177 | 58.6715 | 82.4672 | 2472.2253 | 1.2203 | 0.045021 | 8.4456 | 68 | 1104.3619 | 6 | 42.8
178 | 56.7958 | 80.7804 | 2380.6928 | 1.4109 | 0.053098 | 11.6009 | 62 | 856.9914 | 6 | 52.4
179 | 62.3241 | 72.9498 | 2228.5573 | 1.2209 | 0.044059 | 9.6586 | 73 | 901.9083 | 4 | 40.5
180 | 60.92 | 87.6566 | 2542.491 | 1.0701 | 0.07263 | 9.3509 | 55 | 1016.3641 | 4 | 58.7
181 | 57.8018 | 85.5971 | 2119.3641 | 1.2833 | 0.048117 | 9.1594 | 57 | 1065.4296 | 3 | 44.9
182 | 61.7939 | 82.42 | 2206.5194 | 1.4141 | 0.079838 | 9.5617 | 61 | 1129.193 | 4 | 62
183 | 62.4247 | 78.4918 | 2180.765 | 1.3327 | 0.073403 | 12.51 | 79 | 1003.2601 | 5 | 56
184 | 60.2603 | 78.5793 | 2527.9493 | 1.1817 | 0.072844 | 12.3399 | 69 | 1000.653 | 4 | 62.5
185 | 57.9644 | 84.1293 | 2067.2072 | 1.2751 | 0.06809 | 10.7817 | 68 | 994.7839 | 4 | 54.6
186 | 65.4579 | 79.9447 | 2471.2457 | 1.1096 | 0.065888 | 12.4166 | 46 | 872.1872 | 4 | 52.1
187 | 64.5336 | 82.4261 | 2287.5152 | 1.2441 | 0.064412 | 10.5998 | 54 | 1087.306 | 5 | 49
188 | 62.1567 | 86.8604 | 2402.4032 | 1.2914 | 0.065791 | 8.0894 | 52 | 1016.13 | 4 | 53.9
189 | 57.2532 | 83.6865 | 2256.9006 | 1.153 | 0.048604 | 9.3404 | 56 | 933.2499 | 4 | 44.7
190 | 60.5498 | 72.3184 | 2161.2616 | 1.2074 | 0.047833 | 9.881 | 72 | 1041.6102 | 4 | 43.4
191 | 58.7047 | 77.1396 | 2344.9194 | 1.1324 | 0.054998 | 10.5494 | 60 | 876.5372 | 5 | 48.6
192 | 59.1942 | 90.8964 | 2418.2946 | 1.1854 | 0.067023 | 12.0362 | 71 | 949.194 | 5 | 54.4
193 | 63.7457 | 70.9414 | 2528.5773 | 1.1606 | 0.065524 | 7.8015 | 58 | 966.2265 | 5 | 55.5
194 | 59.4733 | 83.7246 | 2218.3145 | 1.3173 | 0.043898 | 9.8625 | 61 | 1136.7622 | 3 | 42.6
195 | 62.7262 | 84.6255 | 2253.4168 | 1.222 | 0.067878 | 9.5127 | 89 | 1094.7491 | 3 | 53.7
196 | 56.1976 | 86.4693 | 2481.4536 | 1.2495 | 0.046222 | 11.4437 | 42 | 1038.5649 | 3 | 48.6
197 | 62.8366 | 77.9877 | 2381.7141 | 1.328 | 0.062958 | 9.2647 | 66 | 999.8413 | 5 | 52.4
198 | 56.2055 | 76.8065 | 2188.6797 | 1.1716 | 0.049847 | 10.0525 | 53 | 868.9213 | 5 | 46.5
199 | 59.3345 | 86.0955 | 2301.9222 | 1.0899 | 0.058202 | 9.8121 | 51 | 983.1625 | 5 | 47.5
200 | 54.8458 | 69.6244 | 2713.6209 | 1.2666 | 0.082685 | 11.8966 | 84 | 1138.2481 | 4 | 84.7
201 | 56.0816 | 73.0997 | 2302.267 | 1.2498 | 0.07195 | 8.6234 | 54 | 1067.7075 | 3 | 68.4
202 | 57.2424 | 69.8398 | 2349.0219 | 1.1613 | 0.081667 | 11.5157 | 97 | 1048.4954 | 5 | 70.3
203 | 60.0212 | 77.9111 | 2144.9079 | 1.0202 | 0.069369 | 10.9962 | 51 | 1058.675 | 5 | 51.8
204 | 65.1359 | 84.2025 | 2405.6181 | 1.1651 | 0.055726 | 7.8247 | 73 | 820.7456 | 4 | 45.3
205 | 58.5088 | 79.8411 | 2399.2521 | 1.206 | 0.069247 | 10.5959 | 70 | 1046.396 | 4 | 60
206 | 58.4129 | 80.724 | 2544.9532 | 1.3396 | 0.082603 | 9.7647 | 65 | 731.5164 | 4 | 73.1
207 | 59.5128 | 80.3291 | 2504.0446 | 1.42 | 0.063944 | 8.376 | 58 | 988.931 | 4 | 59.4
208 | 58.6314 | 67.6751 | 2462.558 | 1.2237 | 0.078569 | 12.7378 | 54 | 878.7401 | 4 | 71.5
209 | 60.2221 | 88.341 | 2336.0946 | 1.0898 | 0.060337 | 10.3734 | 58 | 792.4401 | 4 | 49.1
210 | 65.7849 | 69.2313 | 2603.7107 | 1.0835 | 0.08404 | 10.0658 | 64 | 958.9393 | 5 | 66.4
211 | 66.2535 | 76.0454 | 2549.1901 | 1.1146 | 0.046504 | 10.6202 | 65 | 994.4981 | 4 | 41.7
212 | 57.8598 | 83.7487 | 2139.0469 | 1.3303 | 0.057268 | 10.7129 | 64 | 910.3057 | 5 | 48.8
213 | 56.853 | 86.4701 | 2358.3634 | 1.2514 | 0.044801 | 9.5498 | 56 | 1041.3702 | 4 | 44.1
214 | 62.316 | 77.321 | 2408.0573 | 1.2459 | 0.059692 | 9.9443 | 81 | 948.7898 | 4 | 51.5
215 | 58.1017 | 79.2787 | 2319.4813 | 1.1993 | 0.047159 | 8.5989 | 79 | 895.2266 | 5 | 44.1
216 | 62.3168 | 70.6121 | 2685.1781 | 1.2775 | 0.071449 | 10.2594 | 73 | 920.3723 | 4 | 65.5
217 | 63.7329 | 78.189 | 2364.8729 | 1.062 | 0.068298 | 10.2158 | 63 | 973.1605 | 4 | 53.1
218 | 58.9792 | 78.23 | 2250.7453 | 1.2353 | 0.081446 | 9.5968 | 98 | 1027.7354 | 5 | 64.6
219 | 59.453 | 80.6588 | 2211.9967 | 1.1611 | 0.052356 | 10.3694 | 81 | 1023.9662 | 5 | 44.3
220 | 57.8686 | 85.7611 | 2229.6134 | 1.1893 | 0.066193 | 10.5433 | 57 | 808.0281 | 5 | 54.8
221 | 60.9346 | 89.2075 | 2647.174 | 1.1662 | 0.054608 | 9.6552 | 61 | 818.4428 | 4 | 49.5
222 | 58.5049 | 79.9807 | 2500.4021 | 1.0489 | 0.051295 | 10.4935 | 89 | 1085.2968 | 4 | 47.9
223 | 61.6199 | 80.7131 | 2275.3514 | 1.0447 | 0.07826 | 12.8104 | 69 | 1067.5595 | 4 | 58.3
224 | 60.2403 | 77.8699 | 2305.2058 | 1.1969 | 0.069671 | 10.2086 | 50 | 1102.795 | 3 | 59.2
225 | 58.194 | 88.5224 | 2373.8569 | 1.0233 | 0.046935 | 8.4398 | 55 | 1087.1604 | 5 | 41.4
226 | 63.4686 | 80.3813 | 2545.8082 | 1.3411 | 0.043994 | 10.1632 | 74 | 970.0239 | 4 | 42.5
227 | 64.7846 | 77.6265 | 2461.5718 | 1.3459 | 0.042996 | 10.8131 | 57 | 1057.6846 | 4 | 40.7
228 | 54.7547 | 84.0727 | 2765.4755 | 1.4916 | 0.059268 | 8.7094 | 89 | 933.6078 | 6 | 63
229 | 62.7939 | 73.2605 | 2571.2835 | 1.2646 | 0.047502 | 12.8249 | 57 | 1121.7652 | 5 | 45.3
230 | 57.0964 | 71.9694 | 2567.4704 | 1.3121 | 0.061938 | 10.0395 | 72 | 941.8707 | 5 | 61.5
231 | 61.7712 | 71.0853 | 2320.2904 | 1.3718 | 0.054196 | 10.843 | 78 | 803.4587 | 4 | 50.1
232 | 62.743 | 74.8076 | 2624.9639 | 1.1585 | 0.043549 | 8.7848 | 82 | 880.9946 | 4 | 43.2
233 | 63.7205 | 70.861 | 2075.5058 | 1.4141 | 0.058157 | 9.1852 | 60 | 1142.998 | 4 | 48.4
234 | 56.2243 | 73.834 | 2172.8507 | 1.172 | 0.067427 | 10.0594 | 64 | 976.5582 | 4 | 59.5
235 | 60.0764 | 79.5757 | 2262.276 | 1.0406 | 0.052724 | 12.3569 | 54 | 1146.6349 | 5 | 43.7
236 | 57.6476 | 76.2362 | 2169.8836 | 1.3017 | 0.0418 | 12.2049 | 67 | 888.4912 | 4 | 42
237 | 59.9712 | 79.4718 | 2555.6886 | 1.1491 | 0.057401 | 9.8256 | 59 | 1051.6509 | 4 | 52.5
238 | 60.2473 | 72.3235 | 2188.0209 | 1.2004 | 0.047474 | 10.0007 | 76 | 1124.1405 | 4 | 43.7
239 | 59.8987 | 82.9971 | 2494.8067 | 1.3066 | 0.08066 | 10.3923 | 51 | 974.7091 | 3 | 69.7
240 | 54.4099 | 72.3768 | 2227.3883 | 1.2543 | 0.075841 | 13.1887 | 56 | 935.5708 | 5 | 69.1
241 | 59.8545 | 83.8579 | 2174.3834 | 1.3192 | 0.048808 | 8.3987 | 54 | 1015.968 | 4 | 43.3
242 | 65.3141 | 81.3053 | 2401.3935 | 1.0321 | 0.055842 | 9.9394 | 57 | 1111.2339 | 4 | 44.6
243 | 60.4035 | 83.726 | 2139.8248 | 1.1999 | 0.053298 | 12.0707 | 84 | 922.2569 | 5 | 42.9
244 | 63.8818 | 80.1906 | 2660.613 | 1.2551 | 0.0589 | 9.8762 | 94 | 950.4606 | 6 | 51
245 | 63.2638 | 77.4785 | 2350.0543 | 1.153 | 0.058197 | 8.517 | 86 | 940.4171 | 4 | 48.3
246 | 64.734 | 69.222 | 2452.9105 | 1.2715 | 0.07593 | 10.0439 | 65 | 838.6673 | 4 | 62.9
247 | 59.5256 | 81.3815 | 2345.6375 | 1.1379 | 0.071509 | 12.8438 | 54 | 1040.9171 | 5 | 57.1
248 | 60.0935 | 85.4827 | 2319.7441 | 0.97388 | 0.047184 | 11.5985 | 66 | 1119.0399 | 4 | 40.6
249 | 62.2777 | 84.85 | 2676.0189 | 1.1802 | 0.049388 | 8.589 | 81 | 1016.5317 | 3 | 47.8
250 | 60.3548 | 73.8059 | 2529.9331 | 1.3497 | 0.068081 | 10.8265 | 65 | 876.6009 | 4 | 62.7
251 | 65.0187 | 76.226 | 2419.7675 | 1.3349 | 0.083177 | 8.8458 | 72 | 925.833 | 3 | 67
252 | 56.6728 | 81.8191 | 2351.0859 | 1.1979 | 0.08039 | 11.3237 | 76 | 1070.3469 | 5 | 66.7
253 | 53.6922 | 85.3152 | 2511.7553 | 1.0373 | 0.073626 | 10.6682 | 83 | 878.5401 | 4 | 66.4
254 | 59.827 | 80.376 | 2301.4158 | 1.2182 | 0.069215 | 8.2969 | 73 | 1066.973 | 5 | 56.2
255 | 55.6944 | 77.8919 | 2277.2301 | 1.3352 | 0.054836 | 9.4551 | 50 | 1017.865 | 4 | 54.1
256 | 55.9342 | 79.1267 | 2133.0194 | 1.0228 | 0.05725 | 10.009 | 51 | 1126.7452 | 4 | 49.4
257 | 66.0625 | 76.0519 | 2195.4987 | 1.2369 | 0.059314 | 12.6184 | 54 | 989.513 | 6 | 44.7
258 | 60.753 | 82.0465 | 2218.6032 | 1.1827 | 0.062535 | 7.4381 | 44 | 1104.7236 | 4 | 50.5
259 | 56.6371 | 81.04 | 2350.1626 | 1.1129 | 0.048038 | 9.9485 | 70 | 792.9293 | 5 | 45.2
260 | 63.469 | 82.4099 | 2337.9113 | 1.1191 | 0.053453 | 8.8363 | 69 | 1093.9652 | 4 | 44
261 | 64.8207 | 70.5308 | 2150.3243 | 1.1387 | 0.065155 | 8.6795 | 41 | 1062.4694 | 4 | 49.9
262 | 59.5199 | 73.5841 | 2290.5665 | 1.2785 | 0.070813 | 8.2189 | 96 | 1005.0346 | 4 | 61.2
263 | 63.5845 | 80.5314 | 2520.2759 | 1.28 | 0.06649 | 8.8011 | 70 | 955.5302 | 5 | 55
264 | 60.1293 | 86.9471 | 2352.8065 | 1.3123 | 0.085216 | 8.256 | 69 | 943.4379 | 4 | 67.3
265 | 64.3471 | 86.5651 | 2166.4176 | 1.3286 | 0.05158 | 12.5421 | 52 | 973.7658 | 4 | 41.1
266 | 60.8194 | 81.1755 | 2195.3704 | 1.4185 | 0.06329 | 9.336 | 66 | 969.3885 | 4 | 53
267 | 63.9192 | 88.0555 | 2302.7977 | 1.076 | 0.04781 | 8.862 | 59 | 997.3808 | 4 | 39
268 | 61.298 | 75.7651 | 2195.4871 | 1.0166 | 0.074017 | 10.4524 | 66 | 1086.4331 | 4 | 55.8
269 | 66.3904 | 80.9919 | 2335.0042 | 1.1748 | 0.046601 | 9.9474 | 88 | 921.3022 | 4 | 39
270 | 53.7173 | 73.9861 | 2480.6946 | 1.3588 | 0.051202 | 12.5923 | 65 | 968.9201 | 5 | 56.4
271 | 55.1926 | 87.1969 | 2079.1666 | 1.1418 | 0.055332 | 7.7264 | 95 | 893.2068 | 4 | 48
272 | 61.6558 | 81.6618 | 2348.1315 | 1.298 | 0.054047 | 9.9835 | 60 | 1005.6998 | 5 | 46.3
273 | 60.545 | 78.4369 | 2246.5942 | 1.2311 | 0.066551 | 10.0913 | 67 | 821.0953 | 5 | 53.7
274 | 56.945 | 88.3606 | 2473.6631 | 1.1975 | 0.077724 | 9.1752 | 76 | 971.0466 | 4 | 66.2
275 | 57.4761 | 91.1319 | 2361.1104 | 1.3986 | 0.062029 | 9.648 | 48 | 1030.472 | 4 | 55.3
276 | 63.7987 | 74.5633 | 2303.1544 | 1.3108 | 0.069404 | 11.1887 | 56 | 852.7374 | 4 | 56.1
277 | 65.4692 | 72.4396 | 2397.8308 | 1.3096 | 0.056173 | 12.8741 | 83 | 979.9859 | 4 | 48.5
278 | 63.0965 | 70.4486 | 2334.2209 | 1.2384 | 0.083272 | 8.1489 | 65 | 852.6084 | 5 | 65.3
279 | 58.2822 | 71.5995 | 2243.91 | 1.2346 | 0.047799 | 11.8449 | 65 | 988.1707 | 4 | 46.7
280 | 59.2582 | 80.4919 | 2227.5992 | 1.2993 | 0.073551 | 8.0192 | 59 | 1045.6673 | 4 | 60.5
281 | 61.0196 | 77.0056 | 2556.0993 | 1.2095 | 0.070777 | 11.1744 | 67 | 943.1422 | 5 | 60.4
282 | 55.9342 | 88.2047 | 2144.016 | 1.2019 | 0.051451 | 9.2717 | 60 | 1066.8755 | 4 | 46
283 | 58.9205 | 74.8749 | 2212.4889 | 1.1977 | 0.06522 | 12.1485 | 74 | 941.0428 | 4 | 55.5
284 | 59.8047 | 74.6013 | 2606.381 | 1.335 | 0.060618 | 11.1371 | 58 | 921.5398 | 5 | 57.5
285 | 61.4603 | 75.3192 | 2408.0907 | 1.1642 | 0.065951 | 9.5927 | 49 | 970.3415 | 5 | 54.8
286 | 56.8593 | 82.9523 | 2388.0989 | 1.2286 | 0.064578 | 8.1567 | 58 | 1084.7053 | 5 | 56.9
287 | 63.0648 | 78.5091 | 2331.2154 | 1.1613 | 0.044535 | 11.4369 | 45 | 834.9021 | 4 | 39.9
288 | 57.9043 | 74.3744 | 2548.7025 | 1.2095 | 0.080691 | 9.9147 | 59 | 930.4764 | 4 | 72.6
289 | 60.5155 | 74.6371 | 2080.1361 | 1.3353 | 0.071189 | 9.4266 | 79 | 957.0619 | 4 | 57.4
290 | 66.4859 | 74.6174 | 2201.7911 | 1.2402 | 0.054379 | 8.1955 | 37 | 981.3831 | 4 | 43.4
291 | 66.3601 | 72.4745 | 2584.7882 | 1.0793 | 0.04932 | 7.8265 | 46 | 756.3596 | 5 | 45
292 | 60.8778 | 75.2734 | 2366.1007 | 1.3434 | 0.048839 | 12.5238 | 46 | 809.3657 | 5 | 46.6
293 | 57.7706 | 79.1421 | 2473.4566 | 1.073 | 0.056073 | 9.1557 | 87 | 990.6521 | 4 | 51.8
294 | 65.291 | 81.3181 | 2207.7334 | 1.112 | 0.065136 | 10.4678 | 81 | 1004.5423 | 4 | 47.8
295 | 60.81 | 77.8979 | 2362.3253 | 1.3474 | 0.078817 | 8.9064 | 93 | 1138.7664 | 4 | 65.6
296 | 57.8609 | 90.619 | 2536.2522 | 1.1386 | 0.073199 | 11.1543 | 78 | 967.8874 | 4 | 61.8
297 | 61.8208 | 83.831 | 2738.9348 | 1.3725 | 0.083799 | 13.0394 | 65 | 1089.1347 | 4 | 72.7
298 | 61.0098 | 85.4528 | 2175.3007 | 1.2198 | 0.061194 | 9.6352 | 82 | 1069.8603 | 4 | 48.4
299 | 55.921 | 83.3391 | 2283.904 | 1.0567 | 0.048591 | 8.1836 | 64 | 807.647 | 3 | 47.1
300 | 60.5274 | 85.7704 | 2356.3619 | 1.1931 | 0.057564 | 13.1392 | 60 | 905.4781 | 5 | 47.9
301 | 60.8523 | 76.412 | 2238.7831 | 1.3182 | 0.053532 | 9.9191 | 70 | 970.817 | 4 | 47.7
302 | 62.5962 | 71.4972 | 2337.4029 | 1.3161 | 0.043159 | 9.8941 | 65 | 1146.1953 | 5 | 40.9
303 | 62.8192 | 85.6495 | 2351.1061 | 1.2129 | 0.051477 | 8.3329 | 43 | 1122.9922 | 4 | 43.6
304 | 62.3226 | 81.466 | 2355.5972 | 1.1079 | 0.057705 | 9.548 | 51 | 840.2506 | 4 | 47.6
305 | 53.6708 | 83.4041 | 2370.8203 | 1.184 | 0.052113 | 9.5836 | 76 | 1020.3212 | 4 | 52.3
306 | 58.0824 | 79.6621 | 2235.7389 | 1.3732 | 0.062239 | 11.9807 | 40 | 862.0226 | 5 | 56.6
307 | 58.5918 | 86.9014 | 2256.4627 | 1.0971 | 0.065935 | 10.4749 | 51 | 1073.0487 | 6 | 52.3
308 | 59.0292 | 74.167 | 2456.6185 | 1.1985 | 0.058047 | 9.1312 | 35 | 1082.1482 | 4 | 54.3
309 | 54.9231 | 78.5817 | 2311.7778 | 1.1899 | 0.045068 | 9.7802 | 60 | 1023.4983 | 5 | 45.5
310 | 59.4256 | 80.9635 | 2117.9788 | 1.1182 | 0.07688 | 10.0922 | 99 | 894.8068 | 4 | 57.9
311 | 56.8363 | 76.8464 | 2389.8058 | 1.0789 | 0.067742 | 11.1773 | 62 | 828.4125 | 4 | 59.8
312 | 57.7321 | 88.6157 | 2433.6287 | 1.183 | 0.059126 | 10.3964 | 56 | 860.6279 | 5 | 52.4
313 | 56.942 | 79.2975 | 2363.8985 | 1.1444 | 0.053057 | 8.9932 | 71 | 976.9331 | 6 | 48.1
314 | 58.4174 | 80.795 | 2426.6625 | 1.4055 | 0.049489 | 12.5643 | 58 | 1136.8814 | 5 | 48
315 | 59.6642 | 72.0739 | 2078.3933 | 1.0705 | 0.06046 | 11.26 | 75 | 797.0661 | 4 | 49.3
316 | 61.1926 | 81.4621 | 2652.6273 | 1.103 | 0.061993 | 10.3817 | 58 | 1119.1602 | 5 | 53.9
317 | 53.8502 | 86.2615 | 2513.5812 | 1.0048 | 0.056752 | 8.6723 | 81 | 801.8852 | 4 | 54.2
318 | 55.9167 | 71.0731 | 2242.1588 | 1.1276 | 0.047101 | 7.8235 | 72 | 1047.9845 | 4 | 47.7
319 | 60.7332 | 73.0561 | 2075.5543 | 1.438 | 0.05417 | 12.1568 | 89 | 938.2873 | 4 | 48.2
320 | 59.1243 | 87.834 | 2005.2937 | 1.1912 | 0.068207 | 10.0968 | 50 | 1034.939 | 3 | 52.5
321 | 56.5124 | 69.8287 | 2619.8154 | 1.0597 | 0.042365 | 12.9565 | 58 | 888.8305 | 4 | 47.2
322 | 62.2641 | 78.2738 | 2441.5499 | 1.0545 | 0.05917 | 9.4699 | 48 | 972.154 | 4 | 49.7
323 | 54.8792 | 79.1132 | 2314.7662 | 1.1772 | 0.059247 | 10.092 | 49 | 1042.8722 | 5 | 54.8
324 | 62.3884 | 82.7575 | 2577.5173 | 1.0352 | 0.071576 | 10.3093 | 61 | 1004.7564 | 5 | 57
325 | 59.0678 | 80.3069 | 2577.4471 | 1.2046 | 0.057092 | 9.1907 | 87 | 1178.7253 | 4 | 53.8
326 | 63.8362 | 73.866 | 2518.981 | 1.2034 | 0.045846 | 8.2253 | 69 | 1031.4675 | 4 | 43.4
327 | 55.8173 | 78.6719 | 2426.8061 | 1.1166 | 0.056263 | 9.5502 | 54 | 1092.4178 | 4 | 53.9
328 | 56.3374 | 74.4416 | 2352.2414 | 1.2148 | 0.070382 | 9.8019 | 85 | 884.4317 | 5 | 63.1
329 | 59.657 | 79.9361 | 2453.2514 | 1.347 | 0.072672 | 8.9464 | 68 | 1096.1505 | 5 | 62.5
330 | 56.2252 | 76.0259 | 2533.9698 | 1.3727 | 0.063556 | 10.9087 | 61 | 878.3241 | 5 | 62.7
331 | 59.4895 | 83.5977 | 2359.9265 | 1.4108 | 0.077586 | 9.5249 | 67 | 1122.7387 | 4 | 65.3
332 | 61.4851 | 72.6048 | 2028.4787 | 1.1453 | 0.057385 | 9.1155 | 84 | 737.2472 | 4 | 46.1
333 | 57.1533 | 80.7752 | 2519.722 | 1.3014 | 0.069137 | 10.7727 | 51 | 870.6462 | 5 | 63.7
334 | 58.7223 | 71.7634 | 2094.3233 | 1.2598 | 0.054546 | 10.3583 | 51 | 1012.6806 | 5 | 47.9
335 | 56.5263 | 87.4693 | 2705.4801 | 1.3476 | 0.064377 | 9.0559 | 61 | 990.4518 | 4 | 63.1
336 | 58.4188 | 75.7703 | 2666.4004 | 1.4161 | 0.056501 | 9.9517 | 81 | 912.1656 | 5 | 57.3
337 | 60.2527 | 76.6086 | 2452.295 | 1.0121 | 0.052043 | 9.04 | 54 | 969.5074 | 4 | 46.9
338 | 54.8562 | 86.8657 | 2326.6387 | 1.1225 | 0.057476 | 11.2334 | 63 | 1069.8133 | 4 | 52.4
339 | 64.5522 | 76.4889 | 2234.2068 | 1.4085 | 0.048785 | 11.5661 | 43 | 801.9095 | 5 | 43.4
340 | 61.4454 | 82.0338 | 2137.1535 | 1.1979 | 0.060859 | 8.5455 | 69 | 1143.5509 | 4 | 47.9
341 | 63.6866 | 89.9188 | 2243.6601 | 1.3551 | 0.063341 | 10.2252 | 82 | 995.9144 | 5 | 48
342 | 64.6012 | 78.9758 | 2339.308 | 1.407 | 0.075469 | 9.2488 | 65 | 939.6788 | 4 | 59.7
343 | 59.3694 | 75.8725 | 2628.2254 | 1.1306 | 0.050199 | 11.6176 | 55 | 943.635 | 4 | 49.6
344 | 59.9788 | 83.1957 | 2483.8996 | 1.413 | 0.070948 | 8.8052 | 62 | 1161.9055 | 4 | 62.5
345 | 63.2435 | 71.1094 | 2628.119 | 1.3173 | 0.068876 | 11.4702 | 75 | 850.4475 | 6 | 60.4
346 | 54.2197 | 76.9778 | 2345.2258 | 1.1741 | 0.060448 | 9.7898 | 55 | 953.6429 | 4 | 58.8
347 | 61.2792 | 86.7413 | 2215.4727 | 1.1574 | 0.05907 | 7.8418 | 79 | 1136.5018 | 5 | 45.9
348 | 60.5919 | 80.219 | 2312.0604 | 0.9808 | 0.079284 | 9.5558 | 47 | 948.6597 | 4 | 59.8
349 | 65.7237 | 84.4569 | 2546.048 | 1.1438 | 0.061529 | 10.5888 | 53 | 915.4559 | 5 | 49.5
350 | 60.4557 | 77.3262 | 2302.095 | 1.159 | 0.055119 | 10.8968 | 64 | 890.4487 | 4 | 48
351 | 63.1467 | 81.4451 | 2217.2162 | 1.2395 | 0.075532 | 10.0799 | 57 | 780.2736 | 3 | 58.2
352 | 59.8781 | 84.2799 | 2380.3205 | 1.4328 | 0.071706 | 10.6773 | 79 | 924.5404 | 5 | 60.2
353 | 61.1313 | 82.6936 | 2315.9052 | 1.2969 | 0.073418 | 11.3085 | 46 | 958.4585 | 5 | 58.4
354 | 58.7544 | 74.5805 | 2624.1015 | 1.3119 | 0.087361 | 10.753 | 74 | 1001.8674 | 4 | 79.1
355 | 55.3622 | 81.0861 | 2318.909 | 1.1375 | 0.07747 | 9.6658 | 78 | 995.5182 | 4 | 66.6
356 | 61.0899 | 82.1735 | 2230.2905 | 1.1229 | 0.066092 | 10.8072 | 37 | 831.2017 | 4 | 52.7
357 | 62.8705 | 83.3114 | 2674.2124 | 1.3984 | 0.066793 | 10.547 | 68 | 1051.544 | 4 | 59.5
358 | 58.3272 | 87.3477 | 2544.8784 | 1.3161 | 0.063869 | 11.0927 | 75 | 972.6379 | 4 | 58.1
359 | 64.4051 | 85.2226 | 2342.7658 | 1.0877 | 0.052252 | 8.5633 | 36 | 1017.6828 | 5 | 42.4
360 | 56.7807 | 73.9457 | 2536.285 | 1.3671 | 0.054459 | 11.8074 | 44 | 857.7025 | 5 | 56.6
361 | 60.863 | 79.7274 | 2623.6931 | 1.2002 | 0.083611 | 8.4141 | 65 | 884.9663 | 5 | 69.6
362 | 60.4822 | 82.1938 | 2347.9947 | 1.1379 | 0.060713 | 8.6777 | 49 | 886.4109 | 4 | 50.8
363 | 59.6824 | 84.517 | 2526.4818 | 1.1737 | 0.065034 | 10.0361 | 73 | 1069.932 | 3 | 58.1
364 | 59.9238 | 76.3522 | 2355.781 | 0.99125 | 0.057293 | 9.468 | 58 | 931.255 | 5 | 47.9
365 | 60.1263 | 73.1933 | 2332.1927 | 1.225 | 0.063231 | 11.8526 | 69 | 994.716 | 5 | 54.3
366 | 61.1711 | 70.9422 | 2393.2312 | 1.2664 | 0.040615 | 9.2635 | 60 | 978.1859 | 4 | 41.6
367 | 64.4385 | 83.0463 | 2308.7878 | 1.2465 | 0.05101 | 11.153 | 59 | 878.2433 | 4 | 42.4
368 | 56.9144 | 81.9138 | 2204.5242 | 1.1933 | 0.046617 | 10.7671 | 96 | 788.1922 | 5 | 42.8
369 | 60.3202 | 77.4602 | 2387.4937 | 1.0769 | 0.07092 | 7.6868 | 86 | 1075.4497 | 5 | 57.1
370 | 61.4512 | 79.8544 | 2424.2393 | 1.2338 | 0.062018 | 9.7651 | 41 | 914.5351 | 4 | 53.3
371 | 59.0153 | 89.0469 | 2545.0288 | 1.2432 | 0.06013 | 10.4231 | 61 | 1090.6402 | 4 | 53.9
372 | 58.1133 | 81.5934 | 2376.284 | 1.2028 | 0.048481 | 8.6788 | 81 | 971.6095 | 4 | 46.2
373 | 60.0914 | 81.9901 | 2455.5423 | 1.1619 | 0.060824 | 9.1743 | 63 | 1120.7091 | 4 | 52.9
374 | 56.206 | 84.3849 | 2287.6977 | 1.1077 | 0.055938 | 10.0363 | 64 | 1107.1464 | 4 | 50
375 | 62.3044 | 73.4472 | 2235.5236 | 1.236 | 0.075152 | 9.7175 | 75 | 1005.913 | 4 | 59.5
376 | 58.7861 | 88.6091 | 2269.0811 | 1.2208 | 0.065779 | 11.1169 | 62 | 857.534 | 4 | 53.7
377 | 64.6761 | 78.2166 | 2750.9893 | 1.1984 | 0.073194 | 11.0632 | 69 | 931.9812 | 5 | 61.6
378 | 59.4634 | 70.4112 | 2532.5783 | 1.1 | 0.049947 | 10.0229 | 91 | 964.223 | 4 | 49.3
379 | 54.4582 | 84.0482 | 2402.1068 | 1.2394 | 0.067017 | 13.4127 | 96 | 881.0121 | 5 | 61.2
380 | 57.5696 | 80.0509 | 2695.2882 | 1.2192 | 0.05938 | 9.3891 | 59 | 749.2283 | 4 | 58.6
381 | 62.9622 | 78.6057 | 2443.8773 | 1.3492 | 0.051756 | 10.8915 | 66 | 997.9676 | 4 | 47.1
382 | 58.8519 | 82.4237 | 2077.437 | 1.2932 | 0.052856 | 10.2234 | 60 | 784.6465 | 5 | 45.2
383 | 55.7837 | 88.3421 | 2464.9683 | 1.281 | 0.048354 | 11.5306 | 73 | 827.0763 | 4 | 48.4
384 | 54.7986 | 75.1296 | 2414.6652 | 1.2259 | 0.043093 | 11.1161 | 56 | 1114.3525 | 5 | 46.5
385 | 57.8231 | 82.8091 | 2464.0198 | 0.9875 | 0.044841 | 11.8458 | 70 | 977.5761 | 4 | 42.8
386 | 56.5604 | 67.8516 | 2162.2701 | 1.0721 | 0.058791 | 9.8828 | 63 | 921.1712 | 5 | 52.6
387 | 59.0929 | 87.1352 | 2282.259 | 1.2537 | 0.055907 | 9.3022 | 56 | 828.5356 | 5 | 48.5
388 | 62.695 | 79.8295 | 2397.0999 | 1.211 | 0.064808 | 11.7296 | 74 | 885.0972 | 4 | 53.3
389 | 59.6108 | 82.9204 | 2278.0765 | 1.1284 | 0.071585 | 12.6877 | 65 | 973.6534 | 5 | 55.6
390 | 56.6659 | 85.7382 | 2412.4568 | 1.1996 | 0.053112 | 13.6974 | 66 | 957.6795 | 5 | 48.7
391 | 54.4335 | 80.2214 | 2430.2767 | 1.3408 | 0.072589 | 11.1631 | 73 | 949.3445 | 6 | 67.7
392 | 65.8544 | 72.8311 | 2464.0596 | 1.3691 | 0.075217 | 8.0676 | 44 | 1041.9719 | 3 | 63.3
393 | 53.8744 | 81.5798 | 2159.0967 | 1.3378 | 0.050424 | 7.9927 | 77 | 946.5132 | 4 | 50.9
394 | 60.3448 | 73.4453 | 2215.1639 | 1.0166 | 0.052198 | 8.6115 | 67 | 1025.2938 | 5 | 43.7
395 | 60.6204 | 70.1786 | 2325.1542 | 1.3335 | 0.056698 | 8.877 | 76 | 1065.1954 | 4 | 52.9
396 | 64.2087 | 78.9929 | 2669.5992 | 1.4075 | 0.061868 | 7.9481 | 63 | 928.3753 | 5 | 55.2
397 | 56.2019 | 80.6791 | 2447.622 | 1.1571 | 0.072873 | 11.1582 | 48 | 957.7574 | 4 | 64.8
398 | 60.3862 | 76.8044 | 2431.3808 | 1.1486 | 0.069964 | 10.8865 | 56 | 1074.1022 | 4 | 59.1
399 | 64.9543 | 78.0891 | 2752.6296 | 1.0705 | 0.063007 | 11.0984 | 44 | 1009.8785 | 4 | 54.6
400 | 56.0795 | 88.5443 | 2311.9438 | 1.3461 | 0.043484 | 9.7006 | 94 | 1007.747 | 4 | 43.9

## input_distributions
driver | distribution | min | mode | max
gradient_C_per_km | triangular(min, mode, max) | 52 | 60 | 68
flow_kg_per_s | triangular(min, mode, max) | 66 | 80 | 92
plant_cost_USD_per_kW | triangular(min, mode, max) | 2000 | 2300 | 2800
drilling_factor | triangular(min, mode, max) | 0.95 | 1.2 | 1.5
fixed_charge_rate | triangular(min, mode, max) | 0.04 | 0.05 | 0.09
productivity_index_kg_s_bar | triangular(min, mode, max) | 7 | 10 | 14
num_fractures | triangular(min, mode, max) | 30 | 60 | 100
fracture_height_m | triangular(min, mode, max) | 700 | 1000 | 1200
doublets | triangular(min, mode, max) | 3 | 4 | 6

## tornado
driver | favorable_LCOE | base_LCOE | unfavorable_LCOE | swing
Cost of capital (FCR 4-9%) | 38.8 | 45 | 69.7 | 30.9
Monobore+laterals→flow→turbine (flow 66-92 kg/s, plant 2.0-2.8 k$/kW) | 39.4 | 45 | 54.2 | 14.8
Subsurface / drawdown (60→100 vs 30 fractures) | 45 | 45 | 59.1 | 14.1
Temperature (gradient 52-68 °C/km) | 40 | 45 | 53.2 | 13.2
Drilling cost (NOAK factor 0.95-1.5) | 42.8 | 45 | 47.7 | 4.9
Scale / field size (6 vs 3 doublets) | 43.5 | 45 | 46.6 | 3.1